## Slide 1
Prompt Gamma Imaging in Hadron Therapy
Jagiellonian Symposium of Fundamental and Applied Subatomic
Physics, 04.-9.6.2017, Krakow, Poland
Fine Fiedler
Institute of Radiation Physics
Helmholtz-Zentrum Dresden-Rossendorf
Nuclear methods for range measurements in hadron therapy

## Slide 2
Opp 6X
~1980
Opp 15X
~1985
3-Field
~1990
3D C
~1995
IMRT
~2005
Protons
~2009
Courtesy of N Mendenhall, D Louis, D Yeung, Z Li, C Li, Jacksonville, FL
History of External Radiotherapy

## Slide 3
Ion beam

## Slide 4
Ion beam
Interaction with electrons of tissue
Nuclear reactions with tissue atoms
Courtesy of P. Preuss, LBL

## Slide 5
Ion beam
Interaction with electrons of tissue
Nuclear reactions with tissue atoms

## Slide 6
Ion beam
Interaction with electrons of tissue
Nuclear reactions with tissue atoms

## Slide 7
b+
e-
511 keV g-rays
Prompt g-rays
E < 10 … 15 MeV
Secondaries
Ion beam
Nucleus
Nuclear reaction → Emission of secondaries and g-rays
Radioactive nucleus
Residual nucleus
Ion therapy – Basic interaction between ions and tissue
Interaction vertex imaging
Prompt Gamma Imaging
Positron Emission Tomography
Henriquet et al. 2012

## Slide 8
b+
e-
511 keV g-rays
Prompt g-rays
E < 10 … 15 MeV
Secondaries
Ion beam
Nucleus
Nuclear reaction → Emission of secondaries and g-rays
Radioactive nucleus
Residual nucleus
Ion therapy – Basic interaction between ions and tissue
Interaction vertex imaging
Prompt Gamma Imaging
Positron Emission Tomography
MRI – Analysis of radiation effects on tissue
Ionoacoustics – Ultrasound pressure waves
…

## Slide 9
German Heavy Ion Tumor Therapy Project
Ablenk-
magnet
Ion source
Linear accelerator
Heavy ion
synchrotron
Schardt et al., Rev. Mod. Phys. 82(2010) 383
Imaging for hadron therapy quality assurance: HZDR @ GSI
Method was proposed at LBNL
Tobias et al. 1977, Llacer 1988
Positron Emission Tomography
b+
e-
511 keV g-rays

## Slide 10
German Heavy Ion Tumor Therapy Project
Ablenk-
magnet
Ion source
Linear accelerator
Heavy ion
synchrotron
Schardt et al., Rev. Mod. Phys. 82(2010) 383
Imaging for hadron therapy quality assurance: HZDR @ GSI
Method was proposed at LBNL
Tobias et al. 1977, Llacer 1988
Positron Emission Tomography
b+
e-
511 keV g-rays
1997 – 2008:
Monitoring of the treatment of more than 440 patients irradiated with 12C-beams
Mostly head & neck

## Slide 11
Dose distribution
Prediction Measurement
g
Simulation
Tomographic
Reconstruction
W. Enghardt et al., Nucl. Instr. Meth. A 525(2004) 284
F. Pönisch et al., PMB, 49(2004) 5217
Imaging for hadron therapy quality assurance: HZDR @ GSI
Positron Emission Tomography

## Slide 12
Soft tissue
0
0,5
1
1,5
2
2,5
-1000
0
1000
2000
3000
Rel. water equiv. path
Table 08/98
Table 08/99
1998
Since 1999
Prediction
Prediction
Measurement
Measurement
Validation of the physical beam model and the treatment planning software
Hounsfield
unit
PT- PET – Clinical results
E. Rietzel et al. Radiat Oncol 2(2007)14, M. Krämer et al.: Radiother. Oncol. 73(2004) S80
Positron Emission Tomography

## Slide 13
Filling of cavity
Reduced range
Underdosage
in the tumor
Overdosage in
the normal tissue
PT- PET – Clinical results
Beam direction
Positron Emission Tomography
3 days later, after medicaments
prescribtion
Prediction
Prediction
Measurement
Measurement

## Slide 14
T. Nishio et al.: Med. Phys. 33 (2006) 4190
K. Parodi et al.: Int. J. Radiat. Oncol. Biol. Phys. 68 (2007) 920
Measurement shortly after the irradiation
Measurement some time after irradiation
Measurement during irradiation
Influence of metabolism increases, count rate decreases
W. Enghardt et al.: Nucl. Instr. Meth. A 525 (2004) 284
PT- PET – Particle Therapy Positron Emission Tomography
Positron Emission Tomography

## Slide 15
Particle Therapy Positron Emission Tomography
→ is the only nuclear based method for range verification with large expertise
→ Technology is available from the shelf
Issues: Complex simulation of β+-activity required
Reliable and fast prediction of β+-activity distribution from treatment plan
Priegnitz et al., IEEE Trans. Nucl. Sci. (2012)
Priegnitz et al., Phys. Med. Biol. 53(2008) 4443
Helmbrecht et al., IEEE Trans. Nucl. Sci. 63 (2016) 612016) 61
Time consuming evaluation requires experts
Semiautomatic evaluation of the activity distribution
Fiedler et al., Phys. Med. Biol. 55 (2010) 1989
Helmbrecht et al., Phys. Med. Biol. 57 (2012) 1387
Helmbrecht et al., Z. Med. Phys. 25 (2015) 146. Phys. 25 (2015), 146
Irradiation of non-static tumors
Intrafractional moving targets
Laube et al., Phys. Med. Biol. 58 (2013) 513
Stützer et al., Phys. Med. Biol. 58 (2013) 5085
Tian et al., Phys. Med. Biol. 61 (2016) N20ys. Med. Biol. 61 (2016) N20
Metabolism
Assessment of the washout
Helmbrecht et al., Med. Phys. 40 (2013) 091918
In-beam only proven @ synchrotron
Application to cw beams
Helmbrecht et al., Z. Med. Phys. (2017)
Positron Emission Tomography

## Slide 16
Particle Therapy Positron Emission Tomography
→ is the only nuclear based method for range verification with large expertise
→ Technology is available from the shelf
Issues: Complex simulation of β+-activity required
Reliable and fast prediction of β+-activity distribution from treatment plan
Priegnitz et al., IEEE Trans. Nucl. Sci. (2012)
Priegnitz et al., Phys. Med. Biol. 53(2008) 4443
Helmbrecht et al., IEEE Trans. Nucl. Sci. 63 (2016) 612016) 61
Time consuming evaluation requires experts
Semiautomatic evaluation of the activity distribution
Fiedler et al., Phys. Med. Biol. 55 (2010) 1989
Helmbrecht et al., Phys. Med. Biol. 57 (2012) 1387
Helmbrecht et al., Z. Med. Phys. 25 (2015) 146. Phys. 25 (2015), 146
Irradiation of non-static tumors
Intrafractional moving targets
Laube et al., Phys. Med. Biol. 58 (2013) 513
Stützer et al., Phys. Med. Biol. 58 (2013) 5085
Tian et al., Phys. Med. Biol. 61 (2016) N20ys. Med. Biol. 61 (2016) N20
Metabolism
Assessment of the washout
Helmbrecht et al., Med. Phys. 40 (2013) 091918
In-beam only proven @ synchrotron
Application to cw beams
Helmbrecht et al., Z. Med. Phys. (2017)
Positron Emission Tomography

## Slide 17
Particle Therapy Positron Emission Tomography
→ is the only nuclear based method for range verification with large expertise
→ Technology is available from the shelf
Issues: Complex simulation of β+-activity required
Reliable and fast prediction of β+-activity distribution from treatment plan
Priegnitz et al., IEEE Trans. Nucl. Sci. (2012)
Priegnitz et al., Phys. Med. Biol. 53(2008) 4443
Helmbrecht et al., IEEE Trans. Nucl. Sci. 63 (2016) 612016) 61
Time consuming evaluation requires experts
Semiautomatic evaluation of the activity distribution
Fiedler et al., Phys. Med. Biol. 55 (2010) 1989
Helmbrecht et al., Phys. Med. Biol. 57 (2012) 1387
Helmbrecht et al., Z. Med. Phys. 25 (2015) 146. Phys. 25 (2015), 146
Irradiation of non-static tumors
Intrafractional moving targets
Laube et al., Phys. Med. Biol. 58 (2013) 513
Stützer et al., Phys. Med. Biol. 58 (2013) 5085
Tian et al., Phys. Med. Biol. 61 (2016) N20ys. Med. Biol. 61 (2016) N20
Metabolism
Assessment of the washout
Helmbrecht et al., Med. Phys. 40 (2013) 091918
In-beam only proven @ synchrotron
Application to cw beams
Helmbrecht et al., Z. Med. Phys. (2017)
Positron Emission Tomography

## Slide 18
Particle Therapy Positron Emission Tomography
→ is the only nuclear based method for range verification with large expertise
→ Technology is available from the shelf
Issues: Complex simulation of β+-activity required
Reliable and fast prediction of β+-activity distribution from treatment plan
Priegnitz et al., IEEE Trans. Nucl. Sci. (2012)
Priegnitz et al., Phys. Med. Biol. 53(2008) 4443
Helmbrecht et al., IEEE Trans. Nucl. Sci. 63 (2016) 612016) 61
Time consuming evaluation requires experts
Semiautomatic evaluation of the activity distribution
Fiedler et al., Phys. Med. Biol. 55 (2010) 1989
Helmbrecht et al., Phys. Med. Biol. 57 (2012) 1387
Helmbrecht et al., Z. Med. Phys. 25 (2015) 146. Phys. 25 (2015), 146
Irradiation of non-static tumors
Intrafractional moving targets
Laube et al., Phys. Med. Biol. 58 (2013) 513
Stützer et al., Phys. Med. Biol. 58 (2013) 5085
Tian et al., Phys. Med. Biol. 61 (2016) N20ys. Med. Biol. 61 (2016) N20
Metabolism
Assessment of the washout
Helmbrecht et al., Med. Phys. 40 (2013) 091918
In-beam only proven @ synchrotron
Application to cw beams
Helmbrecht et al., Z. Med. Phys. (2017)
Positron Emission Tomography

## Slide 19
Particle Therapy Positron Emission Tomography
→ is the only nuclear based method for range verification with large expertise
→ Technology is available from the shelf
Issues: Complex simulation of β+-activity required
Reliable and fast prediction of β+-activity distribution from treatment plan
Priegnitz et al., IEEE Trans. Nucl. Sci. (2012)
Priegnitz et al., Phys. Med. Biol. 53(2008) 4443
Helmbrecht et al., IEEE Trans. Nucl. Sci. 63 (2016) 612016) 61
Time consuming evaluation requires experts
Semiautomatic evaluation of the activity distribution
Fiedler et al., Phys. Med. Biol. 55 (2010) 1989
Helmbrecht et al., Phys. Med. Biol. 57 (2012) 1387
Helmbrecht et al., Z. Med. Phys. 25 (2015) 146. Phys. 25 (2015), 146
Irradiation of non-static tumors
Intrafractional moving targets
Laube et al., Phys. Med. Biol. 58 (2013) 513
Stützer et al., Phys. Med. Biol. 58 (2013) 5085
Tian et al., Phys. Med. Biol. 61 (2016) N20ys Med. Biol. 61 (2016) N20ys. Med. Biol. 61 (2016) N20
Metabolism
Assessment of the washout
Helmbrecht et al., Med. Phys. 40 (2013) 091918
In-beam only proven @ synchrotron
Application to cw beams
Helmbrecht et al., Z. Med. Phys. (2017)
Positron Emission Tomography

## Slide 20
Particle Therapy Positron Emission Tomography
→ is the only nuclear based method for range verification with large expertise
→ Technology is available from the shelf
Issues: Complex simulation of β+-activity required
Reliable and fast prediction of β+-activity distribution from treatment plan
Priegnitz et al., IEEE Trans. Nucl. Sci. (2012)
Priegnitz et al., Phys. Med. Biol. 53(2008) 4443
Helmbrecht et al., IEEE Trans. Nucl. Sci. 63 (2016) 612016) 61
Time consuming evaluation requires experts
Semiautomatic evaluation of the activity distribution
Fiedler et al., Phys. Med. Biol. 55 (2010) 1989
Helmbrecht et al., Phys. Med. Biol. 57 (2012) 1387
Helmbrecht et al., Z. Med. Phys. 25 (2015) 146. Phys. 25 (2015), 146
Irradiation of non-static tumors
Intrafractional moving targets
Laube et al., Phys. Med. Biol. 58 (2013) 513
Stützer et al., Phys. Med. Biol. 58 (2013) 5085
Tian et al., Phys. Med. Biol. 61 (2016) N20Med. Biol. 61 (2016) N20ys. Med. Biol. 61 (2016) N20
Metabolism
Assessment of the washout
Helmbrecht et al., Med. Phys. 40 (2013) 091918 , Med. Phys. 40 (2013) 091918
In-beam only proven @ synchrotron
Application to cw beams
Helmbrecht et al., Z. Med. Phys. (2017)
Positron Emission Tomography

## Slide 21
Particle Therapy Positron Emission Tomography
→ is the only nuclear based method for range verification with large expertise
→ Technology is available from the shelf
Issues: Complex simulation of β+-activity required
Reliable and fast prediction of β+-activity distribution from treatment plan
Priegnitz et al., IEEE Trans. Nucl. Sci. (2012)
Priegnitz et al., Phys. Med. Biol. 53(2008) 4443
Helmbrecht et al., IEEE Trans. Nucl. Sci. 63 (2016) 612016) 61
Time consuming evaluation requires experts
Semiautomatic evaluation of the activity distribution
Fiedler et al., Phys. Med. Biol. 55 (2010) 1989
Helmbrecht et al., Phys. Med. Biol. 57 (2012) 1387
Helmbrecht et al., Z. Med. Phys. 25 (2015) 146. Phys. 25 (2015), 146
Irradiation of non-static tumors
Intrafractional moving targets
Laube et al., Phys. Med. Biol. 58 (2013) 513
Stützer et al., Phys. Med. Biol. 58 (2013) 5085
Tian et al., Phys. Med. Biol. 61 (2016) N20Med. Biol. 61 (2016) N20ys. Med. Biol. 61 (2016) N20
Metabolism
Assessment of the washout
Helmbrecht et al., Med. Phys. 40 (2013) 091918 , Med. Phys. 40 (2013) 091918
In-beam only proven @ synchrotron
Application to cw beams
Helmbrecht et al., Z. Med. Phys. (2017)
Positron Emission Tomography

## Slide 22
b+
e-
511 keV g-rays
Prompt g-rays
E < 10 … 15 MeV
Secondaries
Ion beam
Nucleus
Nuclear reaction → Emission of secondaries and g-rays
Radioactive nucleus
Residual nucleus
Ion therapy – Basic interaction between ions and tissue
Interaction vertex imaging
Prompt Gamma Imaging
Positron Emission Tomography

## Slide 23
b+
e-
511 keV g-rays
Prompt g-rays
E < 10 … 15 MeV
Secondaries
Ion beam
Nucleus
Nuclear reaction → Emission of secondaries and g-rays
Radioactive nucleus
Residual nucleus
Ion therapy – Basic interaction between ions and tissue
Interaction vertex imaging
Prompt Gamma Imaging
Positron Emission Tomography
H. Rohling et al. Phys. Med. Biol. 62 (2017) 2795
→ Talk of Denis Dauvergne

## Slide 24
Prompt γ-ray range verification
Energy: Prompt Gamma Spectroscopy – Verburg et al. 2014
Measure: Energy spectrum
→ depends on penetration depth and tissue composition
Requires: High-resolution detectors and collimator
Time: Prompt Gamma Timing – Golnik et al. 2014
Measure: Emission time of γ-rays
→ Emission time is a measure for proton transit time
Requires: Timing detectors
Space: Prompt Gamma Imaging
Prompt Gamma Imaging
Energy • Time • Space

## Slide 25
Prompt γ-ray timing
Proton beam
Range
Time
n
Prompt Gamma Imaging
Energy • Time • Space
C. Golnik, Phys. Med. Biol. 59 (2014) 5399–5422
γ-rays

## Slide 26
PGT Mean
Target thickness ↑
Proton transit time ↑
Later (on average) prompt gamma-ray emission
PGT Mean µ ↑ and Std. Dev. (RMS) σ ↑
µ and σ are sensitive to range variations even if the system time resolution is poor
C. Golnik, Phys. Med. Biol. 59 (2014) 5399–5422
Prompt γ-ray timing
Prompt Gamma Imaging
Energy • Time • Space

## Slide 27
PGT Mean
Target thickness ↑
Proton transit time ↑
Later (on average) prompt gamma-ray emission
PGT Mean µ ↑ and Std. Dev. (RMS) σ ↑
µ and σ are sensitive to range variations even if the system time resolution is poor
C. Golnik, Phys. Med. Biol. 59 (2014) 5399–5422
Prompt γ-ray timing
Simple Setup
Single standard gamma-ray scintillation detector (LaBr3, GAGG, LSO) on photomultiplier tube
Reasonable time and energy resolution
No passive or electronic collimation
Measurement process:
Uncertainties typically lead to convolution of the measured profile
Spectral shape lost under convolution
Spectral momenta (mean, std. deviation) still sensitive to range variation
Prompt Gamma Imaging
Energy • Time • Space

## Slide 28
Hueso-González et al. Phys. Med. Biol. 60 (2015) 6247
0.1 ns
0.5 ns
Prompt γ-ray timing – inhomogeneous targets
Prompt Gamma Imaging
Energy • Time • Space

## Slide 29
Prompt γ-ray range verification
Energy: Prompt Gamma Spectroscopy – Verburg et al. 2014
Measure: Energy spectrum
→ depends on penetration depth and tissue composition
Requires: High-resolution detectors and collimator
Time: Prompt Gamma Timing – Golnik et al. 2014
Measure: Emission time of γ-rays
→ Emission time is a measure for proton transit time
Requires: Timing detectors
Space: Prompt Gamma Imaging
Prompt Gamma Imaging
Energy • Time • Space

## Slide 30
Wikipedia.org
Collimation required → active or passive
Prompt Gamma Imaging
Energy • Time • Space

## Slide 31
Passive collimation
Proton beam
R (x)
n
Prompt Gamma Imaging
Energy • Time • Space

## Slide 32
Proton beam
R (x)
n
Neutrons
Neutrons
Prompt Gamma Imaging
Energy • Time • Space
Passive collimation

## Slide 33
Proton beam
R (x)
n
Neutrons
Neutrons
Background
Prompt Gamma Imaging
Energy • Time • Space
Passive collimation

## Slide 34
Slit camera
Detector systems for prompt g-rays
Prompt Gamma Imaging
Energy • Time • Space

## Slide 35
Beam
Irradiated volume
Segmented detector
LYSO
20 × 0.8 × 0.32 cm³
Tungsten Collimator 4 cm
Vision
J. Smeets et al.: Phys. Med Biol. 57 (2012) 3371
Slit camera – The IBA solution
Prompt Gamma Imaging
Energy • Time • Space

## Slide 36
Slit camera – The IBA solution
Beam
Irradiated volume
Segmented detector
LYSO
20 × 0.8 × 0.32 cm³
Tungsten Collimator 4 cm
Vision
J. Smeets et al.: Phys. Med Biol. 57 (2012) 3371
Prompt Gamma Imaging
Energy • Time • Space

## Slide 37
Slit camera – The IBA solution
Beam
Irradiated volume
Segmented detector
LYSO
20 × 0.8 × 0.32 cm³
Tungsten Collimator 4 cm
Vision
J. Smeets et al.: Phys. Med Biol. 57 (2012) 3371
Prompt Gamma Imaging
Energy • Time • Space

## Slide 38
Slit camera – The IBA solution
Beam
Irradiated volume
Segmented detector
LYSO
20 × 0.8 × 0.32 cm³
Tungsten Collimator 4 cm
Vision
J. Smeets et al.: Phys. Med Biol. 57 (2012) 3371
Prompt Gamma Imaging
Energy • Time • Space

## Slide 39
Experiment
Slit camera – The IBA solution
Beam
Irradiated volume
Segmented detector
LYSO
20 × 0.8 × 0.32 cm³
Tungsten Collimator 4 cm
Vision
J. Smeets et al.: Phys. Med Biol. 57 (2012) 3371
Prompt Gamma Imaging
Energy • Time • Space

## Slide 40
Experiment
beam
Slit camera – The IBA solution
Beam
Irradiated volume
Segmented detector
LYSO
20 × 0.8 × 0.32 cm³
Tungsten Collimator 4 cm
J. Smeets et al.: Phys. Med Biol. 57 (2012) 3371
Prompt Gamma Imaging
Energy • Time • Space

## Slide 41
Priegnitz et al. Phys. Med. Biol. 60 (2015) 4849
Prompt Gamma Imaging
Energy • Time • Space
Slit camera – also for inhomogeneous targets

## Slide 42
Wikipedia.org
Collimation required → active or passive
Prompt Gamma Imaging
Energy • Time • Space

## Slide 43
Compton Camera
Detector systems for prompt g-rays
Prompt Gamma Imaging
Energy • Time • Space

## Slide 44
Electronically collimated detectors
Compton camera – The working principle
Prompt Gamma Imaging
Energy • Time • Space

## Slide 45
Backprojection
Compton camera – The working principle
Prompt Gamma Imaging
Energy • Time • Space

## Slide 46
Backprojection
MLEM
Compton camera – The working principle

## Slide 47
Compton camera – The working principle
Prompt Gamma Imaging
Energy • Time • Space
e+
e-
Si-Detector
H. Rohling et al., IEEE Trans. Nucl. Sci. 62 (2015) 2023
Does pair production help us?

## Slide 48
Compton camera – Prototypes
Silicium detector
Scintillator
CdZnTe
Scintillator
CdZnTe
CdZnTe
Scintillator
Scintillator
2010-2014
Prompt Gamma Imaging
Energy • Time • Space

## Slide 49
Challenges: Many readout channels
Timing
Coincidence building
Discrimination of valid events
2.49 · 10-4 γ-1
3.49 · 10-5 p-1
2.18 · 10-3 γ-1
3.05 · 10-4 p-1
Compton camera – Challenges for detector developments
J. Petzoldt et al., in prep.
1 nA proton beam current -> 59 protons @ 9.4 ns; peak current up to 50 times higher
Highly asymmetric load on the detectors
→ Optimization of detector system, development of filter criteria
H. Rohling, PhD thesis, TU Dresden, 2015, Rohling et al. TNS 62 (2015) 2023, Rohling et al., PMB 62 (2017) 2795
Prompt Gamma Imaging
Energy • Time • Space

## Slide 50
  Detectors
  CZT 2 × 2 × 0.5 cm³ LSO / BGO 5.2 × 5.2 × 2 cm³
  BGO 3.6 × 3.95 × 3 cm³
  CZT - LSO
  CZT - CZT
  CZT - CZT - LSO
  CZT - BGO
  BGO - BGO
  CZT - CZT - BGO
Prompt Gamma Imaging – Detectors and test sources
BGO / LSO detector
Siemens Medical Systems
Tests @
Lab sources ~1 MeV
Tandedron 4.44 MeV
ELBE - Bremsstrahlung
AGOR @ KVI Groningen
WPC @ Essen
Dresdner Protonentherapie
CZT detector
Bruker Baltic Ltd.
Prompt Gamma Imaging
Energy • Time • Space
Notes:   BGO4: Scatterer: 36x39.5x30 mm3
  BGO1: Absorber: 53x 53 x20 mm3

## Slide 51
Compton camera – Detector developments: CZT
CZT
→ Spectroscopic readout system for pixelated CZT detectors room-temperature semiconductor detectors using commercial ASICs
→ Transit to fully-digital signal processing in order to improve timing and energy resolution
δE/E = 3.6%
at 511 keV
δE/E = 2.8%
at 511 keV
CZT
Prompt Gamma Imaging
Energy • Time • Space
P. Födisch et al., Proceedings DESY, 978-3-935702-72-0, 135-143, PhD thesis

## Slide 52
→ Development of spectroscopic readout system for pixelated CZT room-temperature semiconductor detectors using commercial ASICs
P. Födisch et al., Proceedings DESY, 978-3-935702-72-0, 135-143
→ Transit to fully-digital signal processing in order to improve timing and energy resolution
Compton camera – Detector developments: CZT
CZT
Weinberger et al., 2016 IEEE NSS/MIC/RTSD
CZT
→ Development of discrete readout electronics for detection and amplification of the deposited charge in CZT detectors
Coincidence between CZT and CZT @ UPTD of 7 ns
Energy Spectrum of 137Cs
δE/E = 1.05 %
at 622 keV
Prompt Gamma Imaging
Energy • Time • Space

## Slide 53
Prompt Gamma Imaging
Energy • Time • Space
Test of spatial and temporal detector resolution @ ELBE @ HZDR
Compton camera – Detector tests
Hueso-González et al., JINST 9 (2014) P05002

## Slide 54
Prototype I
Scatterer CZT, Absorber LSO
22Na source in steps of 10 mm from (0,0) to (0, 50 mm)
1275 keV line, ca. 900 cones per image
Compton camera – The Dresden Prototype
Kormoll et al., Nucl. Instr. Meth. A 626-627, 114, 2011
Prompt Gamma Imaging
Energy • Time • Space

## Slide 55
Prototype I
Scatterer CZT, Absorber LSO
22Na source in steps of 10 mm from (0,0) to (0, 50 mm)
1275 keV line, ca. 900 cones per image
Compton camera – The Dresden Prototype
Kormoll et al., Nucl. Instr. Meth. A 626-627, 114, 2011
Prompt Gamma Imaging
Energy • Time • Space

## Slide 56
Compton camera – Test @ 4.44 MeV
Tandedron - HZDR
15N(p, ag)12C,
Ep = 897 keV, Ip = 10 µA, TiN Target
Questions to be answered
  Detector performance
    Spatial resolution (LSO  BGO)
    Efficiency (CZT @ E = 4.44MeV)
  Modeling – How do simulations fit with the detector responses?
    Shape of spectra (E = 4.44MeV)
    Absolute rates (E = 4.44MeV)
  Reconstruction algorithm
    How does reconstruction work if E = 4.44MeV is postulated by the algorithm?
    Does the algorithm converge if this assumption is abandoned?
Prompt Gamma Imaging
Energy • Time • Space
Golnik et al., JINST 11 (2016) P06009

## Slide 57
Tandedron - HZDR
HPGe Monitor @ 90°
LaBr3(Ce) monitor @ 90°
Prompt Gamma Imaging
Energy • Time • Space
Compton camera – Test @ 4.44 MeV
Golnik et al., JINST 11 (2016) P06009

## Slide 58
Tandedron - HZDR
BGO
Prompt Gamma Imaging
Energy • Time • Space
Compton camera – Test @ 4.44 MeV
Golnik et al., JINST 11 (2016) P06009

## Slide 59
Tandetron at HZDR: 15N(p,αγ)12C
Energy filter: 4.44 MeV ± 20 %
BGO
Tandedron - HZDR
Prompt Gamma Imaging
Energy • Time • Space
Golnik et al., JINST 11 (2016) P06009

## Slide 60
142
143
771
772
772
Simulation
Measurement
Prompt Gamma Imaging
Energy • Time • Space
Golnik et al., JINST 11 (2016) P06009
Compton camera – Test @ 4.44 MeV

## Slide 61
142
143
771
772
772
Simulation
Measurement
Prompt Gamma Imaging
Energy • Time • Space
Compton camera – Test @ 4.44 MeV
Golnik et al., JINST 11 (2016) P06009

## Slide 62
Courtesy: Fernando Hueso-González
Hueso-González et al., IEEE Transactions on Radiation and Plasma Medical Sciences 1 (2017) 76
Prompt Gamma Imaging
Energy • Time • Space
Compton camera – Experiment @ Dresdner Proton therapy

## Slide 63
Prompt Gamma Imaging
Energy • Time • Space
Compton camera – Experiment @ Dresdner Proton therapy
Courtesy: Fernando Hueso-González
Hueso-González et al., IEEE Transactions on Radiation and Plasma Medical Sciences 1 (2017) 76

## Slide 64
Compton camera – Modelling: Continuing translation
Two Compton cameras in 25 cm distance from the isocenter
Scatter layer: CZT 10 × 10 × 0.5 cm3
Absorber layer: LSO 20 × 20 × 2 cm3
z
y
x
CZT
CZT
LSO
LSO
Beam
H. Rohling et al. Phys. Med. Biol. 62 (2017) 2795
Prompt Gamma Imaging
Energy • Time • Space

## Slide 65
Planned dose
Emissions
g-ray emissions:
7 × 107
Head-neck patient
plan with 0.1 Gy,
8.73 × 108 protons
Compton camera – Modelling: Continuing translation
Reconstructed image, valid events
3.4 × 104
z
y
x
CZT
CZT
LSO
LSO
Beam
Registered coincidence events
3.4 × 105
H. Rohling et al. Phys. Med. Biol. 62 (2017) 2795
Prompt Gamma Imaging
Energy • Time • Space
Notes: Events (coincident energy depositions in one of the two cameras):
6.6 × 104 (20 % valid events)
Events after filtering (realistic):
1.9 × 104 (44 % valid events)
Valid events (1 scatter event + complete absorption and no energy escape):
1.3 × 104

## Slide 66
Dose
g-ray Emissions
Unmodified
Modified,
with range deviation,
+ 15 mm
Compton camera – Modelling: Continuing translation
Prompt Gamma Imaging
Energy • Time • Space
H. Rohling et al. Phys. Med. Biol. 62 (2017) 2795

## Slide 67
Emissions
Emissions with range shift
Beam
Compton camera – Modelling: Continuing translation
Prompt Gamma Imaging
Energy • Time • Space
H. Rohling et al. Phys. Med. Biol. 62 (2017) 2795

## Slide 68
in beam direction
through the isocenter
64 iterations of MLEM
Reconstructed activity
Reconstructed activity with range shift
filtered events
valid events
Beam
Beam
Compton camera – Modelling: Continuing translation
Prompt Gamma Imaging
Energy • Time • Space
H. Rohling et al. Phys. Med. Biol. 62 (2017) 2795

## Slide 69
PGI
Energy
Prompt Gamma Spectroscopy
Time
Prompt Gamma Timing
Space
Prompt Gamma Imaging
Slit camera
Compton camera
MRI
PET
Ionoacoustics
In-beam
In-room
Off-line
Interaction vertex imaging
Summary

## Slide 70
PGI
Energy
Prompt Gamma Spectroscopy
Time
Prompt Gamma Timing
Space
Prompt Gamma Imaging
Slit camera
Compton camera
MRI
PET
Ionoacoustics
In-beam
In-room
Off-line
Interaction vertex imaging

## Slide 71
PGI
Energy
Prompt Gamma Spectroscopy
Time
Prompt Gamma Timing
Space
Prompt Gamma Imaging
Slit camera
Compton camera
MRI
PET
Ionoacoustics
In-beam
In-room
Off-line
Interaction vertex imaging

## Slide 72
PGI
Energy
Prompt Gamma Spectroscopy
Time
Prompt Gamma Timing
Space
Prompt Gamma Imaging
Slit camera
Compton camera
MRI
PET
Ionoacoustics
In-beam
In-room
Off-line
Interaction vertex imaging
Thank you for your attention
HZDR - Radiation Physics
HZDR - Radiation Oncology
HZDR – Ion beam center
UPTD
KVI
PTC
WPE

## Slide 74
Planned dose
Emissions
g-ray emissions:
6.9 × 107
32 iterations, filtered events
1.9 × 104
Head-neck patient
plan with 0.1 Gy,
8.73 × 108 protons
with and without range deviation (modified HUs)
with 5000 filtered events
32 iterations,
non- filtered events
6.6 × 104
32 iterations, valid events
1.3 × 104
Compton camera – Modelling: Continuing translation
H. Rohling et al. Phys. Med. Biol. 62 (2017) 2795
Prompt Gamma Imaging
Energy • Time • Space
Notes: Events (coincident energy depositions in one of the two cameras):
6.6 × 104 (20 % valid events)
Events after filtering (realistic):
1.9 × 104 (44 % valid events)
Valid events (1 scatter event + complete absorption and no energy escape):
1.3 × 104