## Slide 1
S3 Collaboration (LoI signed by 28 laboratoires)
ANL (US), CENBG, CSNSM, JINR-FLNR, (Russia), GANIL, France, GSI (Germany), INFN Legnaro, (Italy), IPHC, France, IPNL, , Irfu CEA Saclay, IPNO, France, JYFL (Finland), K.U. Leuven (Belgium), Liverpool-U, (UK), LNS (Italy), LPSC, MSU (US), LMU, (Germany), Nanjing-U (China), Northern Illinois University (US), SAS Bratislava, (Slovaquia), IFJ PAN Cracow (Poland), Smoluchowski Institute (Poland), CEA-DAM; SUBATECH, TAMU (US), U. Mainz (Germany), York-U (UK), Vinca Institute (Serbia)
INP
S3 : Super
Separator
Spectrometer
Spiral 2
Physics objectives
Optics
Construction status
Phase 1++

## Slide 2
Fed by the very high intensity
stable heavy ion beams
of LINAG
- He to U nuclei
- From 2 to 14MeV/u
S3 in the Spiral2@Ganil project
Spiral2
Phase 1++
(2015)
Present Ganil
Goal:
Study of very rare events in nuclear and atomic physics
NfS
Desir
S3

## Slide 3
LoI Physics objectives
Heavy and Superheavy
Elements
  Spectroscopy and Structure
  Reaction mechanism
  Ground-State Properties
  Synthesis
Neutron-Rich Nuclei
LoI_Day1_7
   Single-Particle structure
   Quenching of Shell Gaps
Proton Dripline & N=Z nuclei
  Tests of Shell Model
  Shapes of nuclei
  Exotic decay
  Ground-State Properties
FISIC project
LoI_Day1_1
Collaboration meeting March 2014
Number of participants : 100
12 LoIs updated + 3 new proposals
Fusion-evaporation
Delayed spectroscopy (SIRIUS) : 4 loIs
GS properties measurements (REGLIS3) : 6 LoIs
In beam spectroscopy (PARIS,EXOGAM, …) : 4 LoIs
Atomic physics (FISIC) : 1 LoI

## Slide 4
Experimental Techniques
Final focal plane
Selection & Identification
Time of flight + Energy
A measurement
Mass dispersive mode
Delayed spectroscopy
p, α, γ, e- decay
Converging mode
Gas catcher + Laser ionisation + Mass Resolution by Time-of-flight
β/β–delayed
Laser spectroscopy
High resolution Mass measurement
Chemistry
Achromatic point
Two step reactions
Transfer+Fusion (transfer)
Specific Modes
Ion-ion collision : FISIC Program
DESIR
Multi-purpose
Experimental
Room
Beam

## Slide 5
Horizontal
300
mm
Target
Achromatic
Focal point
Final
focal plane**
Optics
* 1st Selection :
block 99.9% of the beam
Momentum Achromat
Mass spectrometer
300
mm
Vertical
**2nd selection:
Simulated Mass resolution = 460
A=101,100,99
24+
25+
26+
23+
22+
Tracewin simulations : Full raytracing in the multipole 3D field maps
Automatic optimisation of 70 field values
Under process: implementation of 3D field maps of the magnetic and electric dipoles
J. Payet, D. Uriot (SACM) D. Boutin, F. Dechery (IPHC)
Beam dump*
Momentum
Dispersive plane

## Slide 6
φ=5cm
Operational modes and Performances
Reference reaction : 58Ni + 46Ti  100Sn24+ + 4n σ(E) = 1.7% σ(θ) = 20mrad
1)
1) High resolution
2) High transmission
2)
3)
3) Converging
Close
Target
Position

## Slide 7
Technical Highlights
Dispersive zone
Target system
3 × dipoles
Detection system
Open triplet
Construction by Sigmaphi
Delivery: March 2013
7 × SC multipoles
E dipole
Q+S+O fields
Prototype
of 1st coil
Tested
Prototype tested
in 2012
Fingers :
tested for 5kW/cm2
Low Energy Branch

## Slide 8
Ions | Intensity (pµA) Phoenix V2 PHOENiX V3 | High Intensity project (A/Q=6 & SC ECR source)
4He | 850 | 
18O | 216 | 375
19F | 28,6 | 500
36Ar | 17.5 | 500
40Ar | 2.9 | 120
32S | 7.3 | 50
36S | 4.6/9 | 50
40Ca | 3/5 | 15
48Ca | 1.25/2.5 | 15
58Ni | 1.1/2 | 11
50Ti | 1/2 | 10
54Cr | 1/2 | 10
84Kr | 0 | 33
139Xe | 0 | 18
238U | 0 | 2.5
Phase 1++
Rate summary vs GSI UNILAC
2-4 [A/Q=3, Phoenix V3]
15-20 [A/Q=6, SC source]
Very high intensity beams with:
Phoenix V3 source  Superconducting ion source
A/q=3 RFQ  Low charge state injector A/q=6

## Slide 9
Conclusions
S3 is a low energy separator-spectrometer for the Spiral2 stable beams
    Fusion-evaporation, two-step reactions, rare channels, electron exchange…
High versatility
  High energy mode (up to 1.8Tm)
  Various optical modes: high resolution, high transmission, converging
Designed for the selection and identification of rare events
  2 steps rejection and >300 Mass resolution
  High transmission of evaporation residues
Construction phase has started
  Commisionning in 2016
  Phase 1++ to reach full power

## Slide 10
Thank you for your attention!
S3 room, one week ago

## Slide 11
nuclide | feature | X-section [nb] | rate [h-1] | 21UT integral | 
 |  |  |  | day 1 | phase 1++
254No | ER | 2000 | 60.000 | 6107 | 1107
256Rf | ER | 17 | 550 | 90.000 | 5.4105
266Hs | ER | 15 (270Ds) | 0.34 | 57 | 285
266mHs | K-isomer | 15 (270Ds) | 0.01 | 2.5 | 12.5
270Ds | ER | 15 | 0.45 | 76 | 380
270mDs | K-isomer | 15 (270Ds) | 0.22 | 38 | 190
262Sg | α-decay | 15 (270Ds) | 0.02 | 5 | 25
276Cn | ER | 0.5 (277Cn) | 0.01 | 2.5 | 12.5
288115 | ER | 10 | 0.3 | 50 | 300
288115 | L X-rays | 10 | 1,8 | 300 | 1800
Nuclear structure
Quasi-particle excitations  deformation/K-isomers
Alpha/gamma/electron spectroscopy
X ray spectroscopy
Reaction studies
Isospin dependent investigation
Z > 112  Actinide targets
48Ca beam and heavier
Very and Superheavy elements studies
Instrumentation
SIRIUS setup

## Slide 12: Beam Dump (O. Cloué, SIS)
Upstream
Beam dump
Downstream
Beam Dump
Open magnets
quadrupole+sextupole
Under construction by Sigmaphi
(O. Delferrière, J. Payet SACM)
Stopping 99.9% of the primary beam charge states
Design by F. Nizery (SIS)
Shielded
removable
“plugs”

## Slide 13
Planning

## Slide 14
High Beam intensity
  High power target : 10pµA (= 6.1013p/s) or more
  Rejection of the beam : >1013
Low Energy (fusion-evaporation residues)
  Large angular acceptance : +/- 50 mrad X and Y
  Charge state acceptance of +/- 10% (q=20+)
  Momentum acceptance for each charge state Bρ: +/- 10%
Many reaction channels (evaporation channels)
  M/q selection : 1/300 (FWHM) resolution
  Identification when possible
  Versatility (transfer reactions & atomic physics)
   High energy first stage : Bρmax = 1.8Tm
   Secondary reactions
Technical Challenges

## Slide 15
New : implementation of 3D electric dipole field map
2cm high slit to reduce scattering

## Slide 16
Day 1 SPIRAL2 LINAC beams
Energy = 0.75-15 A.MeV
58Ni19+
18O6+
Gases
Beam Intensity Reached
Phoenix V2 :
4He2+: 850 pµA
18O6+ (from 16O16+): 216 pµA
19F7+ : 28,6 pµA
36Ar12+: 17.5 pµA
40Ar14+: 2.9 pµA
32S11+: 7.3 pµA (not opt.)
36S12+ (from 32S12+): 4.6 pµA
40Ca14+: 3 pµA
48Ca16+ (from 40Ca16+): 1.25 pµA
58Ni19+: 1.1 pµA
36Ar12+
Phoenix V3 (Apr. 2014)
50-100% Int. increase
Beam developments
Improvement Ca,Ni, S
Development Si,Ti,Cr
6
9 (36S)
6
2.5
2
PHASE1+ scientific programs require at middle term very high Intensity HI beams
(>10 pμA for A>50)
Development of a new SC ECR Ion Source
New RFQ A/Q=6-7

## Slide 17: SIRIUS (Spectroscopy & Indentification of Rare Ions Using S3)
Large size (200x150 mm2)
Time Resolution < 1ns
Position resolution = 1mm
Very low thickness
Germanium detector
e.x. Exogam2, CLODETTE
Time of flight + tracking detector
Implantation detector
(HI,  and e- decay)
Tunnel detector for escaped e- and 
Conversion electrons FWHM <5 keV
Escaped alpha FWHM 15 keV
Large detector size 10x10cm2
High resolution FWHM
  Ability to detect large> 50MeV pulse
  Followed (≈ 10µs)
  by a weak (<15MeV) pulse.
No Dead time
R&D is ending  Construction phase could start
Search for the funds !

## Slide 18
cocktail
beam
Faisceau laser
Pure Beam
HRS or MRTOF
Identification
Station
DESIR
Gas cell chamber
10-2 mbar
10-5 mbar
RFQ 90o
RFQ
extraction
électrode
extraction
Low Energy Branch
Expected performances
Thermalization, diffusion and transport towards the exit hole | 90 %
Neutralization in to the atomic in GS | 30 %
Formation of the gas jet | 90 %
Laser ionization | 50 %
Capturing efficiency | 80 %
Detection efficiency | 85 %
Total efficiency | 4 %
S3
HRS
500 mbar
Cellule gazeuse
(LEUVEN, GANIL, IPNO, LPC…)

## Slide 19
Basic Detection set-ups
Implantation-decay station
Emissive foils : Time of flight and tracking
Silion box :
  Energy
  Decay correlation
  α, p, e- spectroscopy
Ge detectors : gamma spectroscopy
Low energy branch
cocktail
beam
LASER BEAM
Pure Beam
HRS or MRTOF
Identification
Station
DESIR
HRS
(LEUVEN, GANIL, IPNO, LPC…)
(CSNSM, Ganil, IPHC, Irfu)
Gas cell chamber
10-2 mbar
10-5 mbar
RFQ 90o
RFQ
extraction
extraction
S3
HRS
500 mbar

## Slide 20
Superconducting Multipole Triplets

## Slide 21
58Ni + 46Ti  100Sn + 4n
Bρ of evaporation residues, target and beam
(first stage selection)
Eρ of evaporation residues, target and beam
(second stage selection)
XY image at the beam dump
Simulations by F. Déchery (PhD thesis)