## Slide 1
Radiopharmaceuticals production for PET imaging in Poland
Jarosław Choiński
HIL UW
II Symposium on Positron Emission Tomography
September 21st - 24th 2014, Jagiellonian University, Kraków, Poland

## Slide 2
In Poland the PET diagnostic is present since 2003
The first PET center was opened, Feb. 26, 2003 in the prof. F. Łukaszczyk Cancer Center at Bydgoszcz

## Slide 3
Operating cyclotron
Under construction cyclotron
Operating PET scanner
IASON - Kielce
IASON - Warszawa
AAA Polska - Warszawa
MONROL - Mszczonów
E&Z – Ożarów Mazowiecki
VOXEL - Kraków
Cancer C. - Łódź
Cancer C. - Bydgoszcz
Cancer C. - Gliwice

## Slide 4
All 9 centers equipped with cyclotrons are focused to produce
- mainly Fludeoxyglucose (18F) (also commonly called
fluorodeoxyglucose and abbreviated [18F]FDG, 18F-FDG or FDG)
but also - others radiopharmaceuticals containing F-18, C-11, O-15 and …

## Slide 5
Radiopharmaceuticals Production and Research Center (RPRC)
at
Heavy Ion Laboratory
University of Warsaw
Currently the site for commercial activity is leased to ADVANCED ACCELERATOR APPLICATIONS POLSKA (AAA Polska)

## Slide 6
fot. Grzegorz Krzyżewski

## Slide 7
General Electric cyclotron PETtrace 840 parameters
Proton beam on target ≥ 80 μA
Deuteron beam on target ≥ 60 μA
length 1.25 m
width 1.2 m
height 1.91 m
electricity consumption in running mode < 70 kW
all-up weight 20 ton

## Slide 9
The set of target systems at RPRC: F-18, C-11, O-15
C-11 normal
C-11 high pressure
FC
F-18
O-15
F-18
Exit to an external beam line

## Slide 10
FDG lab

## Slide 11
Laboratory of FDG 1 dispenser unit
2 TRACERLab MX-FDG units
Commercially available FDG - Gluscan

## Slide 12
R&D lab

## Slide 13
R&D Laboratory equipment - 1 water O-15 unit, 1 C-11 „process unit”
3 units of C-11 synthesizers: - Synthra MeI, - Synthra MeIplus,
- Synthra GPextent

## Slide 14
R&D Laboratory equipment - 1 dispenser unit
1 TRACERLab FX F-N (nucleophilic substitution with 18F-)

## Slide 15
PET Radiopharmaceuticals
TRACERlab FX F-N
Synthra - synthesizers
nucleophilic substitution with [18F] F-
methylation reactions using methyl iodide or methyl triflate
18F Fluoromisonidazole
18F Methylbenperidol
18F Fluorostradiol
18F Altanserine
11C Raclopride
11C Methionine
11C Acetate
11C Palmitate
(see yesterday dr K. Kilian’s presentation)

## Slide 16
„Alternatywne metody produkcji technetu-99m”
Agreement Nr PBS1/A9/2/2012
consortium of
the Institute of Nuclear Chemistry and Technology
the Polatom – National Centre for Nuclear Research
the University of Warsaw
01.11.2012 – 31.10.2015
One of the goals of this program is to construct an external solid state target station.

## Slide 19
In the next coming year we will execute the grant ”OTRZYMYWANIE RADIOFARMACEUTYKÓW OPARTYCH NA RADIONUKLIDACH SKANDU DLA POZYTONOWEJ TOMOGRAFII EMISYJNEJ”
[PET-SKAND]
Production of:
    44Ca(p,n)44Sc
    42Ca(d,n)43Sc
consortium of
the Institute of Nuclear Chemistry and Technology
the Polatom – National Centre for Nuclear Research
the University of Warsaw
(see yesterday prof. J. Jastrzębski’s presentation)

## Slide 20
The prof. F. Łukaszczyk Cancer Center at Bydgoszcz
Cyclotron Eclipse HP - 11 MeV proton beam from Siemens (18F, 11C, 13N, 15O and 64Cu)
courtesy of B. Małkowski
Siemens PET/MR

## Slide 21
The prof. F. Łukaszczyk Cancer Center at Bydgoszcz
So far radiopharmaceuticals production only for internal use of:
18F-FDG since 2002
18F-FLT since 2008
18F-FET since 2009
11C-acetate since 2010
18F-Sodium fluoride since 2006
68Ga-DOTA-TATE since 2009
water 15O-H2O since 2011
11C–Methionine since 2013
11C –Choline since 2013
68Ga – GLP-1 since 2014
18F–DOPA since 2014
Soon:
68Ga–RGD
68Ga–PSMA
68Ga–Aneksyna,
18F–MFBG ?
courtesy of B. Małkowski

## Slide 22
The Maria Sklodowska-Curie Memorial Cancer Center
and Institute of Oncology Gliwice Branch
Cyclotron Cyclone 18/9 from Ion Beam Application (IBA)
courtesy of A. d’Adamico and D. Pogoda

## Slide 23
The Maria Sklodowska-Curie Memorial Cancer Center
and Institute of Oncology Gliwice Branch
Radiopharmaceuticals production only for internal use of:
FDG - licensing process in the course
Synthera synthesizer
(IBA)
Theodorico dyspenser
(Comecer)
courtesy of A. d’Adamico and D. Pogoda

## Slide 24
The Maria Sklodowska-Curie Memorial Cancer Center
and Institute of Oncology Gliwice Branch
Isotope | Radiopharmaceutical | Synthesizer / Producer
11C | Choline | Reform / BIOSCAN
 | Methionine | 
 | Carbon acetate | 
68Ga | Ga-DOTATATE | 
18F | Sodium fluoride | Synthera / IBA
 | Fluoro-L-Thymidine | 
 | 18F-Choline | 
 | Fluoro-Dopamine | SynChrom / Raytest
124I | Sodium iodide | Terimo / IBA
 | Metaiodobenzylguanidine | 
courtesy of A. d’Adamico and D. Pogoda

## Slide 25: NZOZ MCD VOXEL OŚRODEK PET-TK-MR at Kraków
courtesy of J. Liszka and M. Pilch-Kowalczyk
Cyclotron PETtrace 860 General Electric

## Slide 26: NZOZ MCD VOXEL OŚRODEK PET-TK-MR at Kraków
courtesy of J. Liszka and M. Pilch-Kowalczyk
The comercial production of FDG (SteriPET)
Installed synthesizers :
FDG synthesizer FASTlab
TRACERlab FXF-N
TRACERlab FX C PRO
TADDEO cupper chloride synthesizer

## Slide 27: NZOZ MCD VOXEL OŚRODEK PET-TK-MR at Kraków
courtesy of J. Liszka and M. Pilch-Kowalczyk
hot cells from Comecer
dyspenser Theodorico - 2 units

## Slide 28: NZOZ MCD VOXEL OŚRODEK PET-TK-MR at Kraków
courtesy of J. Liszka and M. Pilch-Kowalczyk
The production of:
11C-Choline (application for registration in Poland very well advanced)
64Cu-Cupper chloride (Comecer TADDEO)
involved in amyloid radiopharmaceuticals developments
in the near future 89Zr zirconium

## Slide 29: The Regional Oncology Center of the Kopernik Hospital at Łódź
Cyclotron Eclipse Siemens
FDG synthesizer Explora
The radiopharmaceuticals production
only for internal use of:
FDG
Sodium fluoride
18F-Choline
courtesy of P. Misiewicz
Explora FDG4

## Slide 30
IASON Sp. z o.o
The company owns two premises in:
the Świętokrzyskie Oncology Center at Kielce – commercial production center
the Military Institut of Medicine at Warsaw – research center
courtesy of P. Kozanecki
Cyclotron Eclipse

## Slide 31
IASON Sp. z o.o
In the Świętokrzyskie Oncology Center at Kielce – IASON produces:
1) EFDEGE – Fludeoksyglucose
and
2) IASOflu – [18F]Natriumfluoride
courtesy of P. Kozanecki

## Slide 32
IASON Sp. z o.o
In the Military Institut of Medicine at Warsaw the assembled equipment allows to produce:
Cholina
Dopa
FLT
FET
F-Miso
courtesy of P. Kozanecki
The Eckert and Ziegler 11C Modular-Lab Chemistry Solution

## Slide 33
MONROL POLAND
  Warsaw Plant
Built on a 2000 m2 area in Mszczonow
1 IBA Cyclone 18/9, 18 MeV Cyclotron
FDG Production
courtesy of R. Tomecki and H. Dilaver

## Slide 34
MONROL POLAND
FDG Production Lab
courtesy of R. Tomecki and H. Dilaver
Quality Control Lab

## Slide 35
MONROL POLAND
courtesy of R. Tomecki and H. Dilaver
PET
FDG
NaF
SPECT
Mo99/Tc99m Generator
Idodine-131 Oral Capsule
Iodine-131 Oral Solution
Thallium-201 Injectable Solution
Cold Kits
Distributed
Therasphere

## Slide 36
Eckert & Ziegler EURO-PET
Many times I have been trying to contact representatives of this company
but to no avail.
http://ww.ceepharma.com/news/205336/eckert-ziegler-to-start-production-of-radiopharmaceuticals-in-h2-2014
”Eckert & Ziegler to start production of radiopharmaceuticals in H2 2014
18 February 2014
Karolin Riehle, of Eckert & Ziegler, a global provider of isotope technology for medical use,
has told PMR that the company plans to start the production of fludeoxyglucose (18 FDG) and
other tracers for cancer imaging diagnostics at its cyclotron-based PET radiopharmaceuticals
factory in the Warsaw area in the second half of 2014. Mrs Riehle added that the factory has already received the occupancy permit. The group has selected Warsaw because of the availability of highly qualified,
skilled personnel and the large number of nuclear medical facilities in the region. Its location near
the beltway and Warsaw's city center will enable fast delivery of short half-life radiopharmaceuticals
to the cancer diagnostic centers. …”

## Slide 37
Eckert & Ziegler EURO-PET
Expected radiopharmaceuticals production
FDG (Fludeoxyglucose [18F]) solution for injection
Yttriga ([90Y]Yttrium chloride) radiopharmaceutical precursor, sterile solution
    Radiopharma
    We provide a range of radiopharmaceuticals, radiochemicals and related equipment for
    the synthesis and labeling of PET and SPECT tracers or other radioisotopes.
http://www.ezag.com/home/products/radiopharma/radionuclides/radiopharmaceuticals.html

## Slide 38
The National Health Fund in 2014 has signed contracts with PET scanner operators for reimbursement roughly 20 000 FDG PET examinations.
Real limitation for regular usage of other then FDG radiopharmaceuticals is lack of reimbursement from the National Health Fund.
Conclusions

## Slide 39
Thank you very much for your attention !