## Slide 1: Biomedical research perspectives @CERN
II Symposium on Positron Emission Tomography
Manjit Dosanjh, CERN
manjit.dosanjh@cern.ch

## Slide 2
2
CERN was founded 1954: 12 European States
“Science for Peace”
Today: 21 Member States
Member States: Austria, Belgium, Bulgaria, the Czech Republic, Denmark, Finland, France, Germany, Greece, Hungary, Israel, Italy, the Netherlands, Norway, Poland, Portugal, Slovakia, Spain, Sweden, Switzerland and the United Kingdom
Candidate for Accession: Romania
Associate Member in Pre-Stage to Membership: Serbia
Applicant States for Membership or Associate Membership: Brazil, Croatia, Cyprus, Pakistan, Russia, Slovenia, Turkey, Ukraine
Observers to Council: India, Japan, Russia, Turkey, United States of America; European Commission and UNESCO
~ 2300 staff
~ 1600 other paid personnel
~ 10500 scientific users
Budget (2014) ~1000 MCHF
Notes: 2
----- Meeting Notes (09/01/2013 14:16) -----
nnn

## Slide 3
Science is getting more and more global
Notes: 3
3

## Slide 4: The Mission of CERN
Push forward the frontiers of knowledge
E.g. the secrets of the Big Bang …what was the matter like within the first moments of the Universe’s existence?
Develop new technologies for accelerators and detectors
Information technology - the Web and the GRID
Medicine - diagnosis and therapy
Train scientists and engineers of tomorrow
Unite people from different countries and cultures
Notes: 4

## Slide 5
catalysing & facilitating collaboration
Detecting particles
Medical imaging
Large scale computing (Grid)
Grid computing for medical data management and analysis
Particle Therapy
Tumour Target
Accelerating particle beams

## Slide 6: Biomedical and Physics Needs
HEP
Highest possible performance
Lab environment/physicist operated
Complex maintenance
Complex operation
Single unit production
Non commercial
Industry as a manufacturer
Biomedical
Robustness
Non-specialist operate
Minimal maintenance
Simple to operate
Small series production
Commercial distribution
Industry as a major partner

## Slide 7: Catalysing collaboration in health field
Challenges:
Bring together physicists, biologists, medical physicists, doctors
Cross-cultural at European and global level
Why is CERN well placed to do this?
It is widely acknowledged as a provider of technologies and as a catalyst for collaboration.
It is international, non-commercial, not a health facility.
Notes: ULICE Kick-off in 2009
ENVISION approval in 2009
Enlight meeting leading to subm. Of ENTERVISION
PARTNER: 21 researchers recruited last year.

## Slide 8
Detecting
particles
Accelerating particle beams
Large-scale computing (Grid)
Physics technologies and innovation
accelerators, detectors and IT to fight cancer
CANCER
Notes: 8

## Slide 9: Cancer is a large and growing challenge Need: Earlier diagnosis, better control, fewer side-effects
How?
new technologies
  Imaging, dosimetry, accelerator & detector technology
  Better understanding – genetics, radiobiology…
  Advanced healthcare informatics …
international collaboration
  If progress is to be maintained
Although cancer is a common condition, each tumour is individual
  personalised approach
  Large patients data to understand the key drivers of the disease
Contribution from CERN & physics is considered timely

## Slide 10
There is no substitute for RT in the near future
The rate of patients treated with RT is increasing
Present Limitation of RT:
~30% of patients treatment fails locally
Conventional Radiotherapy in 21st Century
3 "Cs" of Radiation
Cure (~ 45% cancer cases are cured)
Conservative (non-invasive, few side effects)
Cheap (~ 5% of total cost of cancer on radiation)
(J.P.Gérard)
Notes: 10

## Slide 11
Accelerator technologies to improve treatment: higher dose
Detectors/imaging: accuracy, multimodality, real-time, organ motion
Data: storage, analysis and sharing (confidentiality, access)
Biology: fractionation, radio-resistance, radio-sensitization
Collaboration in this multidisciplinary field is key
How to decrease failure rate?
Raymond Miralbell, HUG
Notes: 11

## Slide 12: Hadrontherapy: all started in 1946
In 1946 Robert Wilson:
  Protons can be used clinically
  Accelerators are available
  Maximum radiation dose can be placed into the tumour
  Particle therapy provides sparing of normal tissues
Depth in the body (mm)
Conventional: X-Rays Ion Radiation
- Tumours near critical organs
- Tumours in children
- Radio-resistant tumours
Notes: 12

## Slide 13: Proton & Ion Beam Therapy: a short history
1989
1990
1991
Proposed by R.R. Wilson
1st patient at Berkeley by Lawrences
HIT (carbon), Heidelberg (Germany)
1st patient in Europe at Uppsala
2009
2011
2015
CNAO, Pavia (Italy)
MedAustron (Austria)
Eye tumours, Clatterbridge, UK
GSI carbon ion pilot, Germany
1992
1993
1994
CPO (Orsay), CAI (Nice), France
Loma Linda (clinical setting) USA
Boston (commercial centre) USA
NIRS, Chiba (carbon ion) Japan
1946
1954
1957
PIMMS
1996-2000
ENLIGHT
2002
ENLIGHT
10th year
1984
PSI, Switzerland

## Slide 14: The Proton-Ion Medical Machine Study (PIMMS)
Facility for hadron therapy
Carbon-ions and protons
High precision active scanning (C, p)
Conventional passive spreading (p)
Fixed beam lines and gantries for maximum flexibility (C,p)
Green-field solution, no starting constraints
Generic study, to be adapted to specific regional needs

## Slide 15: PIMMS at CERN (1996-2000)
and protons
linacs for
carbon ions
p
p
C
C
p
RF cavity
Resonance sextupole
Betatron
core
Injection septum
Electrostatic septum
Extraction septum
Sextupole horiz. chromaticity
Sextupole vert.
chromaticity
Sextupole vert. chromaticity
Sextupole horiz. chromaticity
Circumference C = 76.84 m
Tune horizontal Qx = 1.67
Tune vertical Qz = 1.72
400 MeV/u synchrotron
CERN-TERA-MedAustron

## Slide 16: Accelerator Technologies
Treatment centre in Wiener Neustadt, Austria,
foundation stone in 2011, installation moved to MedAustron at beginning of 2012, first patient in 2015
PIMMS 2000 (coordinated by CERN) has led to:
First patient treated with in 2011
Treatment centre in Pavia, Italy.

## Slide 17: ENLIGHT: Importing CERN collaboration philosophy into a medical environment
  Create common multidisciplinary platform
  Cancer treatment
  Identify challenges
  Share knowledge
  Share best practices
  Harmonise data
  Provide training, education
  Innovate to improve
  Lobbying for funding
Notes: 17

## Slide 18
10 years of ENLIGHT collaboration
  Common multidisciplinary platform
  Identify challenges
  Share knowledge
  Share best practices
  Harmonise data
  Provide training, education
  Innovate to improve
  Lobbying for funding
  Coordinated by CERN
> 150 institutes
> 400 people
> 25 countries
(with >80% of MS involved)

## Slide 19: EU funded projects
Wide range of hadron therapy projects: training, R&D, infrastructures
A total funding of ~24 M Euros
All coordinated by CERN,(except ULICE coordinated by CNAO
Under the umbrella of ENLIGHT
Marie Curie ITN
12 institutions
Infrastructures for hadron therapy
20 institutions
R&D on medical imaging for hadron therapy
16 institutions
Marie Curie ITN
12 institutions

## Slide 20
ENVISION
European Novel Imaging Systems for Ion Therapy
Accurate positioning is a crucial challenge
for targeting moving organs during particle treatment
4-year EU funded project: Budget 6M euros
launched in February 2010
16 leading European research centres and industrial partners, coordinated by CERN
R&D in real-time medical imaging for more precise and effective particle therapy
  2 demonstrators for real time imaging have been constructed and are being tested
  > 40 scientific publications and 80 conference talks/posters

## Slide 21: Current Status

## Slide 22
Seattle
Loma Linda
Catania
Clatterbridge
Uppsala
St Petersburg
Dubna
Moscow
Villigen
Orsay
Nice
Faure
Jacksonville
Heidelberg
Particle therapy facilities in operation (Tsujii, 2014)
Wajie
Seoul
Houston
Tsukuba
Kashiwa
Shizuoka
Fukui
Nagoya
Koriyama
Ibusuki
Sapporo
Chiba
Hyogo
Gunma
Saga
Lanzhou
Pavia
Sacrament
Vancouver
Boston
Oklahoma
Someset
Hampton
Pennsylvania
Berlin
Munich
Essen
Krakow
Prague
San Diego
St Louis
Bloomington
Chicago
Proton | 40
Carbon | 4
P + C | 4
Total | 48
Shanghai
USA/Canada: 15
Asia: 16
Europe/Russia: 16

## Slide 23
Particle therapy facilities in a planning stage or under construction (Tsujii, 2014)
Chicago
Riyahdt
Bratislava
Ruzomberok
Wiener
Neustadt
Knoxville
Kanagawa
Taipei
Uppsala
San Diego
Protvino
Beijing
Pusan
Lanzhou
Wuwei
Nagano
Osaka
Okayama
Nice
Seoul
Oklahoma
Orland
St.Louis
Flint
Rochester
New York
Phoenix
Shreveport
New Brunswick
Jacksonville
Marburg
Dresden
Essen
Kein
Delft
Galgenen
Orsay
Trento
Proton | 30
Carbon | 4
P + C | 2
Total | 36
USA/Canada: 13
Asia: 10
Europe/Russia: 12

## Slide 24: Number of patients treated with Protons and C-ions in the world
Chart: 
| USA | Japan | France | Russia | Germany | England | China | Sweden | Switzerland | South Korea | South Africa | Italy | Canada | Poland
Proton | 31683 | 8869 | 10051 | 6446 | 2848 | 2151 | 1078 | 1185 | 1107 | 810 | 521 | 295 | 161 | 11
Carbon | 7628 | 568 | 159
Referred to PTCOG (As of 26-June-2012)

## Slide 25
Challenges for future…
Clinical trials
Optimisation of the present facilities to increase patient output
Cheaper/compact facilities easier to run, cheaper treatment
Help countries in Europe wanting facilities
Collaboration outside of Europe
Still on going
Heterogeneous network: differing needs and interests
How to balance between basic research and the clinical needs?
Many partners. How to collaborate effectively and make progress with the key objectives?
How to position ourselves for the future

## Slide 26
Connect:
Users
Data sources
by
Grid core
Security
Integration
Portals
Interfaces
Grid
Middleware
Data Integration
Data Access Services
Data Sources
Use Scenarios
Patient
Referral
Research
Further
Use Case
RT-DB
HIS
PACS
Tissue
Physics
DNA
Security
HISP
RT Information Sharing

## Slide 27: The New (2013) CERN Medical Initiatives
Medical Accelerator Design
  coordinate an international collaboration to design a new compact, cost-effective accelerator facility, using the most advanced technologies
Biomedical Facility
  creation of a facility at CERN that provides particle beams of different types and energies to external users for radiobiology and detector development
  Iterative experimental verification of simulation results
Detectors for beam control and medical imaging
Diagnostics and Dosimetry for control of radiation
Radio-Isotopes (imaging and treatment)
Large Scale Computing (large data transfers and analysis, treatment planning and simulations)
Applications other than cancer therapy
Will be carried out in a global collaboration

## Slide 28
Treat the tumour and only the tumour
    control and monitor the ideal dose to the tumour
     Minimal collateral radiation “outside” the tumour
    Minimal radiation to nearby critical organs
  Even if the tumour is moving
Be affordable
    Capital cost ?
    Operating costs ?
    Increased number of treated patients per year ?
Compact: Fit into every large hospital ?
What do we need in the future?

## Slide 29
Accelerator Physicists
Radio-Oncologists,
Radio-Biologists
Medical Physicists,
User Specifications
Beam parameters:
  Particle type(s),
  Measured position,
  Energy range
  Required dose,
  Real time feedback from detectors
Distributing the beam
  rep rate,
  spot scanning,
  gantry
Accelerator type,
Cost-effectiveness and compactness parameters
Detectors and imaging
User Specs for Hadron Therapy

## Slide 30
Many of these questions can only be answered with
  experimental verifications
  significant simulations
  Development of diagnostics (imaging, dosimetry)
 We need a dedicated test facility

## Slide 31: OPENMED: Biomedical Research Facility at CERN
LEIR
Biomedical facility at CERN using LEIR:
  radiobiology
  fragmentation of ion beam
  Dosimetry
  Detector development
  test of instrumentation

## Slide 32: What is new on the technology side?
LHC accelerator technology development
    Operation of 8T magnets
    Testing of 11T magnets for Luminosity upgrade
    Development of 18-20T magnets for energy upgrade
LHC Detectors developments
    Crystal scintillators improvements
    Medipix proliferation and enhancements
    Developments of new vertex detectors for LHC luminosity upgrade
    Development of TOF resolution for Luminosity Upgrade (40ps aim)
CLIC
    Accelerating structure frequency reduced from 30GHz to 12GHz
    Development of room temperature structures for 100MV/m gradient
    Proposals for structures of 3 and 5.7 GHz with 30 and 50 MV/m for medical applications
LHC Grid
    Demonstration of the efficiency and reliability
    Rapid adoption to new domains
Developments of medical simulations with FLUKA
How can we improve the previous design using the new technologies?

## Slide 33: No treatment without detection!
Particle Detection
Imaging
PET Scanner
Breast imaging
(ClearPEM)

## Slide 34: Detectors
Continuous development on particle physics detectors at CERN
Scintillating crystals
Medipix
Diamond detectors

## Slide 35
3D Axial PET concept
Conventional concept
Rings of block detectors
New 3D axial concept
Axial arrangement of camera modules based on matrices of long crystals read out on both sides by HPDs
Illustration:
F. Schönahl, HUG
Christian Joram PHE2010
http://cordis.europa.eu/technology-platforms/
Notes: Advantage: 3D reconstruction without parallax error; depth of measurement;

## Slide 36: A new PET !
A novel imaging system for endoscopic exams
of the pancreas or the prostate.
A combination of high resolution metabolic
imaging with TOFPET and anatomical imaging
with ultrasound.
The development of targeted biomarkers.
Paul Lecoq, 2014

## Slide 37
MEDIPIX
Notes: In this slide it is shown the typical structure of a hybrid pixel detector. You can see that it consists of a CMOS pixel readout chip, which is composed by a matrix of pixel signal processing circuitry, plus a piece of semiconductor sensor material. As you can see, the electrode on the lowest face of the sensor is also pixelated, so that readout chip and sensor are connected together pixel by pixel through bump bonding. It is also shown here that a voltage is applied between the electrodes of the sensor to make it sensitive to particles passing through it.
This is a sketch of the cross section of a pixel in the hybrid pixel detector. In blue the pixel readout circuitry, in green the corresponding sensor pixel and the grey ball is the bump bonding to connect both. We can see in the animation how the signal is generated in the detector. Initially the ionizing particle passes through the sensor material, creating free charge carriers. Then due to the voltage applied to the sensor electrodes, these charge carriers move towards the electrodes, generating the signal in their movement that will be processed by the pixel readout circuitry.

## Slide 39: We need to collaboration
Hospitals
Imaging centres
Research institutes
Academic institutes
Industry
Funding agencies
Biologists
ICT
Doctors
Policy makers
Physicists
& Medical physicists
Epidemiologists