## Slide 1: Active shielding for measurements of ultra-weak and low frequency magnetic signals
Project by Grzegorz Wyszyński
Supervisor: prof. dr hab. Kazimierz Bodek

## Slide 2: Magnetic field noise

## Slide 3: Magnetocardiography (MCG)

## Slide 4: Magnetocardiography

## Slide 5: Magnetoencephalography (MEG)

## Slide 6: How to shield the magnetic noise?
B=0
COMPUTER
CURRENT SOURCE

## Slide 7: Current active compensation systems

## Slide 8: 1st idea – additional coils

## Slide 9: My idea:
Describe field using Spherical Harmonics:
Such a field can be created using currents:
(lm) fields are orthogonal and for far sources, only first few ls are necessary to consider

## Slide 10: My solution:

## Slide 11: How good are the compensation systems?

## Slide 12: Comparison – more distant source

## Slide 13: Improving spherical coil system

## Slide 14: Improving spherical coils

## Slide 15: Summary
Active magnetic shielding is a crucial part in many new medical diagnostic tools.
It is also crucial for many experiments
Commonly used systems are based on Helmholtz like coils
Coil system proposed by us is based on decomposition of magnetic field into orthogonal multipoles
Such systems gives 100 times better results